Copyright 2020 AIA
MasterSpec Full Length
09/20 (PM 03/21)

PRODUCT MASTERSPEC LICENSED BY DELTEK, INC. TO WIRECRAFTERS, LLC

Copyright 2020 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA
This Product MasterSpec Section is licensed by Deltek, Inc. to WireCrafters, LLC ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text and does not include the full content of the original MasterSpec Section.
Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, Deltek or The American Institute of Architects (AIA). Neither AIA nor Deltek are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.
For more information, contact WireCrafters, LLC, 6208 Strawberry Ln., Louisville, KY 40214; Phone: (800) 924-9473; Fax: (502) 361-3857; Website: wirecrafters.com; Email: info@wirecrafters.com.

For information about MasterSpec, contact Deltek at (800) 424-5080 or visit masterspec.com.

SECTION 102213 - WIRE MESH PARTITIONS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Access Product MasterSpec Sections:

<Double click here to view the list of manufacturer Sections available at ProductMasterSpec.com.>
Revise this Section by deleting and inserting text to meet Project-specific requirements.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Standard-duty wire mesh partitions.

2. Heavy-duty wire mesh partitions.

3. Wire mesh ceilings.

4. Wire mesh equipment physical barriers.

1.2 DEFINITIONS

Retain terms that remain after this Section has been edited for Project. Include only essential definitions or acronyms not well understood by the affected industry or trade.

"Intermediate crimp" is also called "intercrimped" and "triple crimped." This type of woven wire mesh is standard for WireCrafters' Style 840 Wire Mesh Partition System.
A. Intermediate Crimp: Wires pass over one and under the next adjacent wire in both directions, with wires crimped before weaving and with extra crimps between the intersections.

Welded wire mesh is also offered by WireCrafters for partitions, ceilings, and barriers. Welded wire is lighter because the wires are not crimped, therefore it uses less wire. With every wire welded to the next, cutouts can be made and the mesh does not lose its shape or rigidity.
B. Welded Wire: Wires are welded at every intersection, securely locking wires in place.
WireCrafters only provides the "Lock crimp" wire mesh upon special request. Lock crimp has a smoother appearance than intermediate crimp.

C. Lock Crimp: Deep crimps at points of the intersection that lock wires securely in place.

1.3 ACTION SUBMITTALS

Action submittals are submittals requiring responsive action and return of reviewed documents to Contractor.

A. Product Data:

1. Wire mesh [partitions] [ceilings] [and] [equipment physical barriers].

2. <Insert products>.

B. Shop Drawings:

1. Include plans, elevations, sections, and attachment details.

Retain subparagraph below if wire mesh partitions include service windows, doors, or gates.

2. Indicate clearances required for operation of [service windows] [doors] [and] [gates].

Retain "Samples for Initial Selection" or "Samples for Verification" Paragraph below, or both.

C. Samples for Initial Selection: Manufacturer's standard color sheets, showing full range of available colors for units with factory-applied color finishes.

D. Samples for Verification: Panel constructed of specified frame members and wire mesh. Show method of finishing members at intersections.

1. Size: 12 by 12 inches (300 by 300 mm).

Retain "Delegated Design Submittal" Paragraph below if design services have been delegated to Contractor. WireCrafters can provide engineering services upon request.
E. Delegated Design Submittal: For wire mesh partitions indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Retain "Sustainable Design Submittals" Paragraph below if required to attain sustainability rating or to track sustainability submittals.

F. Sustainable Design Submittals:

Retain "Product Data" Subparagraph below to require minimum recycled content for LEED 2009, MRc 4, "Recycled Content."

1. Product Data: For recycled content, indicating postconsumer and preconsumer recycled content and cost.
1.4 INFORMATIONAL SUBMITTALS

Information submittals are submittals that require review by Architect, but they do not require Architect's responsive action and return of reviewed documents to Contractor, provided submittals comply with requirements. If rejected, submittals with responsive action must be returned to Contractor.

A. Certificates:

Retain "Welding certificates" Subparagraph below if retaining "Welding Qualifications" Subparagraph in "Quality Assurance" Article.

1. Welding certificates.

Coordinate "Qualification Data" Paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as may be supplemented in "Quality Assurance" Article. If inserting additional entities or specialist, add qualifications to "Quality Assurance" Article.

B. Qualification Data: For Installer[ and delegated design engineer].

1.5 CLOSEOUT SUBMITTALS

A. Operation and Maintenance Data: For wire mesh partition hardware.

1.6 QUALITY ASSURANCE

A. Qualifications:

1. Installer: [Fabricator of products] [Entity that employs installers and supervisors who are trained and approved by manufacturer] [Authorized representative who is trained and approved by manufacturer].

Retain "Welding" Subparagraph below if shop or field welding is required. If retaining, also retain "Welding certificates" Subparagraph in "Informational Submittals" Article.

2. Welding: Qualify procedures and personnel in accordance with the following welding codes:

Retain first subparagraph below for structural welding of steel.

a. AWS D1.1/D1.1M.

Retain first subparagraph below for structural welding of sheet steel.

b. AWS D1.3/D1.3M.

Retain "Delegated Design Engineer" Subparagraph below if design services have been delegated to Contractor. WireCrafters can provide engineering services upon request.
3. Delegated Design Engineer: A professional engineer who is legally qualified to practice in jurisdiction where Project is located and who is experienced in providing engineering services of the kind indicated.

1.7 DELIVERY, STORAGE, AND HANDLING

Packaging in first paragraph below may increase cost but may be required for painted items.

A. Deliver wire mesh items [with cardboard protectors on perimeters of panels and doors and with posts wrapped] [palleted] [crated] to provide protection during transit and Project-site storage. Use vented plastic.

B. Inventory wire mesh partition door hardware on receipt, and provide secure lockup for wire mesh partition door hardware delivered to Project site.

1. Tag each item or package separately with identification, and include basic installation instructions with each item or package.

C. Deliver keys to Owner by registered mail or overnight package service[.][, addressed as follows:]

1. <Insert name and address of Owner's representative>.

1.8 FIELD CONDITIONS

If possible, design wire mesh units so that they do not have to fit other construction and delete this article.

A. Field Measurements: Verify actual dimensions of construction contiguous with wire mesh units by field measurements before fabrication.

PART 2 -  PRODUCTS

Manufacturers and products listed in this Section are neither recommended nor endorsed by the AIA or Deltek. Before selecting manufacturers and products, verify availability, suitability for intended applications, and compliance with minimum performance requirements. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

Product options commonly available from manufacturers are included in square brackets throughout the Section Text. Not every manufacturer listed can provide every option offered; verify availability with manufacturers. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

2.1 SOURCE LIMITATIONS

Retain this article to limit sources for the entire Section. Source limitations may also be specified in individual articles if desired.

A. For wire mesh products, obtain each color, grade, finish, type, and variety from single source with resources to provide products of consistent quality in appearance and physical properties.
2.2 MANUFACTURERS

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

A. Basis-of-Design Product: Subject to compliance with requirements, provide WireCrafters, LLC; [Style 840 Woven] [Welded] Wire Mesh Partition System or comparable product by one of the following:
1. Acorn Wire & Iron Works.

2. Central Wire and Iron.

3. Miller Wire Works, Inc.

4. <Insert manufacturer's name>.

2.3 PERFORMANCE REQUIREMENTS

Retain "Delegated Design" Paragraph below if Contractor is required to assume responsibility for design. WireCrafters can provide engineering services upon request.
A. Delegated Design: Engage a qualified professional engineer, as defined in Section 014000 "Quality Requirements," to design wire mesh units.

B. Structural Performance: Wire mesh units to withstand the effects of gravity loads and the following loads and stresses within limits and under conditions indicated.

Consult a structural engineer experienced in engineering wire mesh partitions of type indicated to quantify design loads applicable to Project. Verify compliance with codes. WireCrafters can provide engineering services upon request.
Retain one or more of four subparagraphs below if design loads and load combinations are not indicated on Drawings. First subparagraph is an example based on the IBC requirement for guards.

1. Concentrated load of 50 lbf (0.22 kN) applied horizontally on an area of 1 sq. ft. (0.093 sq. m) at any location on a panel.

2. Total load of [200 lbf (0.89 kN)] <Insert value> applied uniformly over each panel.

3. Concentrated load and total load need not be assumed to act concurrently.

4. <Insert loads or load combinations>.

Retain "Seismic Performance" Paragraph below for projects requiring seismic design. Delete paragraph if performance requirements are indicated on Drawings. Model building codes and ASCE/SEI 7 establish criteria for buildings subject to earthquake motions. Coordinate requirements with structural engineer. WireCrafters can provide engineering services upon request.
C. Seismic Performance: Wire mesh units to withstand the effects of earthquake motions determined in accordance with [ASCE/SEI 7] <Insert requirement>.

Verify accessibility requirements of authorities having jurisdiction. Some projects may require compliance with multiple accessibility regulations.

D. Regulatory Requirements: Comply with applicable provisions in [the United States Access Board's ADA-ABA Accessibility Guidelines] [and] [ICC A117.1] for [doors] [and gates] designated as accessible.

2.4 STANDARD-DUTY WIRE MESH PARTITIONS

WireCrafters offers wire mesh partition assemblies based on combining or stacking one panel on top of another between tubular posts to reach the finished partition height. Stocked panels are available in 20 standard sizes, from modules of 4 ft. (1.22 m) to 5 ft. (1.52 m). Partitions may be fabricated up to 40 ft. (12.19 m) high.
A. Partition Height: [8 ft. 5-1/4 inches (2.57 m)] [10 ft. 5-1/4 inches (3.18 m)] [12 ft. 5-1/4 inches (5.25 m)] [As indicated] <Insert dimensions>.
Mesh in "Woven Wire Mesh" Paragraph below is WireCrafters' standard for "standard-duty" wire mesh. Revise to suit mesh with different wire diameter or different pattern.

B. Woven Wire Mesh: 10 gauge, 0.135-inch- (3.5-mm-) diameter, intermediate-crimp steel wire woven into 2-by-1-inch (50-by-25-mm) rectangular mesh.

Mesh in "Welded Wire Mesh" Paragraph below is WireCrafters' standard for "standard-duty" wire mesh. Revise to suit mesh with different wire diameter or different pattern.

C. Welded Wire Mesh: 10 gauge, 0.135-inch- (3.5-mm-) diameter wire, 2-by-2-inch (50-by-50-mm) square mesh.

D. Vertical and Horizontal Panel Framing: 1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) L-shaped steel angles.

E. Vertical Flat Panel Stiffeners: Steel bars, 3/4 by 1/4 inch (19 by 6 mm), welded to angle frame.

F. Line and Corner Posts: 14 gauge, 0.075-inch- (1.9-mm-) thick, 2-by-2-inch (50-by-50-mm) steel square tubes with holes for 3/8-inch- (10-mm-) diameter bolts aligning with bolt holes in vertical framing; with welded base plates.

G. Swinging Doors: Fabricated from same mesh as partitions, with framing fabricated from 1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) L-shaped steel angles, banded with two horizontal and one vertical 3/4-by-1/4-inch (19-by-6-mm) flat steel bar stiffeners.

1. Hinges: Full-surface type, 10 gauge, 0.135-inch (3.5-mm) thick, 4-by-4-inch (102-by-102-mm) steel, three per door; bolted to door and jamb framing.

Retain "Padlock Lug" or "Cylinder Lock" Subparagraph below. In "Cylinder Lock" Subparagraph, "recessed turn knob" option is prevalent but may not comply with accessibility requirements if applicable.

2. Padlock Lug.

3. Cylinder Lock: Mortise type with [manufacturer's standard cylinder] [cylinder specified in Section 087100 "Door Hardware"] [cylinder specified in Section 087111 "Door Hardware (Descriptive Specification)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

H. Double Hinged Doors:

1. Hinges: Full-surface type, 10 gauge, 0.135-inch (3.5-mm) thick, 4-by-4-inch (102-by-102-mm) steel, three per door; bolted to door and jamb framing.

Retain "Padlock Lug" or "Cylinder Lock" Subparagraph below. In "Cylinder Lock" Subparagraph, "recessed turn knob" option is prevalent but may not comply with accessibility requirements if applicable.

2. Padlock Lug.

3. Cylinder Lock: Mortise type with [manufacturer's standard cylinder] [cylinder specified in Section 087100 "Door Hardware"] [cylinder specified in Section 087111 "Door Hardware (Descriptive Specification)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

Retain "Inactive Leaf Hardware" Subparagraph below for double doors.

4. Inactive Leaf Hardware: Cane bolt at bottom and chain bolt at top.

I. Sliding Doors: Fabricated from same mesh as partitions, with framing fabricated from 1-1/4-by-1-1/4-by-1/8-inch (38-by-32-by-3-mm) L-shaped steel angles.

1. Hardware: Two, four-wheel roller-bearing carriers; box track; and bottom guide for each door.

Retain "Padlock Lug" or "Cylinder Lock" Subparagraph below. In "Cylinder Lock" Subparagraph, "recessed turn knob" option is prevalent but may not comply with accessibility requirements if applicable.

2. Padlock Lug.

3. Cylinder Lock: Mortise type with [manufacturer's standard cylinder] [cylinder specified in Section 087100 "Door Hardware"] [cylinder specified in Section 087111 "Door Hardware (Descriptive Specification)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

J. Vertically Sliding Service Windows: Fabricated from same mesh and framing as panels and equipped with sash balance to hold window in open position and a padlock lug to lock window in closed position. Include opening frame in partition fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3-mm) steel channels.

1. Size: [24 inches wide by 21 inches high (610 mm wide by 533 mm high)] [As indicated] <Insert dimensions>.

2. Shelf: Fabricated from 10 gauge, 0.135-inch- (3.5-mm-) thick, steel sheet; with corners rounded and edges finished smooth; braced with manufacturer's standard brackets.

a. Size: [24 inches wide by 18 inches deep (610 mm wide by 457 mm deep)] [As indicated] <Insert dimensions>.

K. Accessories:

"Sheet Metal Base" Subparagraph below is for wainscot panels.

1. Sheet Metal Panels: 16 gauge, 0.060-inch- (1.5-mm-) thick, steel sheet.

2. Adjustable Filler Panels: 16 gauge, 0.060-inch- (1.5-mm-) thick, steel sheet; capable of filling openings from 1 to 11 inches (50 to 300 mm).

3. Wall Clips: Manufacturer's standard, steel sheet.

L. Finish: [Enamel finish] [Powder-coated finish] [Hot-dip galvanized] unless otherwise indicated.

2.5 HEAVY-DUTY WIRE MESH PARTITIONS

WireCrafters offers wire mesh partition assemblies based on combining or stacking one panel on top of another between tubular posts to reach the finished partition height. Stocked panels are available in 20 standard sizes, from modules of 4 ft. (1.22 m) to 5 ft. (1.52 m). Partitions may be fabricated up to 40 ft. high (12.19 m).

A. Partition Height: [8 ft. 5-1/4 inches (2.57 m)] [10 ft. 5-1/4 inches (3.18 m)] [12 ft. 5-1/4 inches (5.25 m)] [As indicated] <Insert dimensions>.

Mesh in "Woven Wire Mesh" Paragraph below is WireCrafters' standard for "heavy-duty" wire mesh. Revise to suit mesh with different wire diameter or different pattern.

B. Woven Wire Mesh: 6 gauge, 0.192-inch- (4.9-mm-) diameter, intermediate-crimp steel wire woven into 2-inch (50-mm) square mesh.
C. Vertical and Horizontal Panel Framing: 1-1/2-by-1-1/2-by-1/8-inch (38-by-38-by-3-mm) L-shaped steel angles.

D. Vertical Flat Panel Stiffeners: Steel bars, 3/4 by 1/4 inch (19 by 6 mm), welded to frame.

E. Line and Corner Posts: 14 gauge, 0.075-inch- (1.9-mm-) thick, 2-by-2-inch (50-by-50-mm) steel square tubes with holes for 3/8-inch- (10-mm-) diameter bolts aligning with bolt holes in vertical framing; with welded base plates.

F. Swinging Doors: Fabricated from same mesh as partitions, with framing fabricated from 1-1/2-by-1-1/2-by-1/8-inch (38-by-38-by-3-mm) L-shaped steel angles, banded with two horizontal and one vertical 3/4-by-1/4-inch (19-by-6-mm) flat steel bar stiffeners.

1. Hinges: Full-surface type, 10 gauge, 0.135-inch (3.5-mm) thick, 4-by-4-inch (102-by-102-mm) steel, three per door; bolted to door and jamb framing.

Retain "Padlock Lug" or "Cylinder Lock" Subparagraph below. In "Cylinder Lock" Subparagraph, "recessed turn knob" option is prevalent but may not comply with accessibility requirements if applicable.

2. Padlock Lug.

3. Cylinder Lock: Mortise type with [manufacturer's standard cylinder] [cylinder specified in Section 087100 "Door Hardware"] [cylinder specified in Section 087111 "Door Hardware (Descriptive Specification)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

G. Double Hinged Doors:

1. Hinges: Full-surface type, 10 gauge, 0.135-inch (3.5-mm) thick, 4-by-4-inch (102-by-102-mm) steel, three per door; bolted to door and jamb framing.

Retain "Padlock Lug" or "Cylinder Lock" Subparagraph below. In "Cylinder Lock" Subparagraph, "recessed turn knob" option is prevalent but may not comply with accessibility requirements if applicable.

2. Padlock Lug.

3. Cylinder Lock: Mortise type with [manufacturer's standard cylinder] [cylinder specified in Section 087100 "Door Hardware"] [cylinder specified in Section 087111 "Door Hardware (Descriptive Specification)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

Retain "Inactive Leaf Hardware" Subparagraph below for double doors.

4. Inactive Leaf Hardware: Cane bolt at bottom and chain bolt at top.

H. Sliding Doors: Fabricated from same mesh as partitions, with framing fabricated from 1-1/2-by-1-1/2-by-1/8-inch (38-by-38-by-3-mm) L-shaped steel angles.

1. Hardware: Two, four-wheel roller-bearing carriers; box track; and bottom guide for each door.

Retain "Padlock Lug" or "Cylinder Lock" Subparagraph below. In "Cylinder Lock" Subparagraph, "recessed turn knob" option is prevalent but may not comply with accessibility requirements if applicable.

2. Padlock Lug.

3. Cylinder Lock: Mortise type with [manufacturer's standard cylinder] [cylinder specified in Section 087100 "Door Hardware"] [cylinder specified in Section 087111 "Door Hardware (Descriptive Specification)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

I. Vertically Sliding Service Windows: Fabricated from same mesh and framing as panels and equipped with sash balance to hold window in open position and a padlock lug to lock window in closed position. Include opening frame in partition fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3-mm) steel channels.

1. Size: [24 inches wide by 21 inches high (610 mm wide by 533 mm high)] [As indicated] <Insert dimensions>.

2. Shelf: Fabricated from 10 gauge, 0.135-inch- (3.5-mm-) thick, steel sheet; with corners rounded and edges finished smooth; braced with manufacturer's standard brackets.

a. Size: [24 inches wide by 18 inches deep (610 mm wide by 457 mm deep)] [As indicated] <Insert dimensions>.

J. Accessories:

"Sheet Metal Base" Subparagraph below is for wainscot panels.

1. Sheet Metal Panels: 16 gauge, 0.060-inch- (1.5-mm-) thick, steel sheet.

2. Adjustable Filler Panels: 16 gauge, 0.060-inch- (1.5-mm-) thick, steel sheet; capable of filling openings from 1 to 11 inches (50 to 300 mm).

3. Wall Clips: Manufacturer's standard, cold-rolled steel sheet.

K. Finish: [Powder-coated finish] [Hot-dip galvanized] unless otherwise indicated.

2.6 WIRE MESH CEILINGS

Wire mesh ceilings are typically installed along with wire mesh partitions. Revise this article if wire mesh ceilings are required to suit Project, but wire mesh partitions are not. Consult manufacturers for recommendations.

A. Mesh, Framing, and Stiffeners: Fabricated from same mesh and framing as wire mesh partition panels.

B. Wall Supports: 1-1/2-by-1-1/2-by-1/8-inch (38-by-38-by-3-mm) steel angle punched for attachment to partition wall and wire mesh ceiling panels.

Intermediate supports in first paragraph below are for support in field of horizontal ceiling panels, as needed. Consult with manufacturer.
C. Intermediate Horizontal Support Tubes: Steel square or rectangular tubes, as recommended by manufacturer.

Intermediate vertical supports in first subparagraph below are for support in field of horizontal ceiling panels, as needed. Consult with manufacturer.
D. Intermediate Vertical Support Posts: [2-by-2-by-1/8-inch (50-by-50-by-3-mm)] [2-by-2-by-0.075-inch (50-by-50-by-1.9-mm)] <Insert dimension> steel square or rectangular tubes as recommended by manufacturer.
E. Finishes: Match adjacent wire mesh partitions.

2.7 WIRE MESH EQUIPMENT PHYSICAL BARRIERS

A. Panel Height: [8 ft. 5-1/4 inches (2.57 m)] [5 ft. 3-1/4 inches (1.60 m)] [As indicated] <Insert dimensions>.

"Woven Wire Mesh" Paragraph below is WireCrafters' standard for "standard-duty" wire mesh; revise to suit Project with different wire diameter or different pattern. Manufacturers offer many other sizes of wire mesh, sheet metal, and clear polycarbonate sheet as alternatives.

B. Woven Wire Mesh: 10 gauge, 0.135-inch- (3.5-mm-) diameter, intermediate-crimp steel wire woven into 2-by-1-inch (50-by-25-mm) rectangular mesh.
C. Panel Framing: 1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) L-shaped steel angles on four sides.

D. Panel Stiffeners: Steel bars, 3/4 by 1/4 inch (19 by 6 mm), welded to frame.

E. Line and Corner Posts: 14 gauge, 0.075-inch- (1.9-mm-) thick, 2-by-2-inch (50-by-50-mm) steel square tubes with holes for 3/8-inch- (10-mm-) diameter bolts aligning with bolt holes in vertical framing; with welded base plates.

F. Swinging Gates: Fabricated from same mesh as partitions, with framing fabricated from 1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) L-shaped steel angles, banded with two horizontal and one vertical 3/4-by-1/4-inch (19-by-6-mm) flat steel bar stiffeners.

1. Hinges: Full-surface type, 10 gauge, 0.135-inch (3.5-mm) thick, 4-by-4-inch (102-by-102-mm) steel, three per gate; bolted to gate and jamb framing.

Retain "Padlock Lug" or "Cylinder Lock" Subparagraph below. In "Cylinder Lock" Subparagraph, "recessed turn knob" option is prevalent but may not comply with accessibility requirements if applicable.

2. Padlock Lug.

3. Cylinder Lock: Mortise type with [manufacturer's standard cylinder] [cylinder specified in Section 087100 "Door Hardware"] [cylinder specified in Section 087111 "Door Hardware (Descriptive Specification)"]; operated by [key] [knob] [thumb-turn knob] outside and [recessed turn knob] [knob] [lever] inside.

G. Sliding Gates: Fabricated from same mesh as partitions, with framing fabricated from 1-1/4-by-1-1/4-by-1/8-inch (38-by-32-by-3-mm) L-shaped steel angles.

1. Hardware: Two, four-wheel roller-bearing carriers; box track; and bottom guide for each gate.

Retain "Padlock Lug" or "Cylinder Lock" Subparagraph below. In "Cylinder Lock" Subparagraph, "recessed turn knob" option is prevalent but may not comply with accessibility requirements if applicable.

2. Padlock Lug.

3. Cylinder Lock: Mortise type with [manufacturer's standard cylinder] [cylinder specified in Section 087100 "Door Hardware"] [cylinder specified in Section 087111 "Door Hardware (Descriptive Specification)"]; operated by [key] [knob] [thumb-turn knob] outside and [recessed turn knob] [knob] [lever] inside.

H. Accessories:

"Sheet Metal Base" Subparagraph below is for wainscot panels.

1. Sheet Metal Panels: 16 gauge, 0.060-inch- (1.5-mm-) thick, steel sheet.

2. Polycarbonate Panels: 1/4-inch- (6-mm-) thick, clear sheet.
3. Adjustable Filler Panels: 16 gauge, 0.060-inch- (1.5-mm-) thick, steel sheet; capable of filling openings from 1 to 11 inches (50 to 300 mm).

4. Wall Clips: Manufacturer's standard, steel sheet.

If required, insert electrical interlock between gate and equipment to shut down equipment if gate is opened.

I. Finish: [Enamel finish] [Powder-coated finish] [Hot-dip galvanized] unless otherwise indicated.

2.8 MATERIALS

Retain "Recycled Content of Steel Products" Paragraph below to specify recycled content if required. An alternative method of requiring recycled content is to retain requirement in Project's Division 01 sustainable design requirements Section that gives Contractor the option and responsibility to determine how recycled content requirements will be met.

A. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.
B. Steel Wire: ASTM A510/A510M.

C. Steel Plates, Channels, Angles, and Bars: ASTM A36/A36M.

D. Steel Sheet: Cold-rolled steel sheet, ASTM A1008/A1008M, Commercial Steel (CS), Type B.

E. Steel Pipe: ASTM A53/A53M, Schedule 40, unless another weight is indicated or required by structural loads.

Steel tubing and pipe are sized differently. Pipe is designated by nominal pipe size and weight or schedule number. Tubing is designated by OD and wall thickness.

F. Steel Tubing: ASTM A500/A500M, cold-formed structural-steel tubing or ASTM A513/A513M, Type 5, mandrel-drawn mechanical tubing.

G. Metallic-Coated Steel Sheet: ASTM A653/A653M, Commercial Steel (CS), Type B; with G60 (Z180) zinc (galvanized) or A60 (ZF180) zinc-iron-alloy (galvannealed) coating designation.

H. Panel-to-Panel Fasteners: Manufacturer's standard steel bolts, nuts, and washers.

I. Post-Installed Anchors: Capable of sustaining, without failure, a load equal to 6 times the load imposed when installed in unit masonry and 4 times the load imposed when installed in concrete, as determined by testing in accordance with ASTM E488/E488M, conducted by a qualified independent testing agency.

Material in "Material" Subparagraph below protects against corrosion in an indoor atmosphere.

1. Material: Carbon-steel components are zinc plated to comply with ASTM B633 or ASTM F1941/F1941M, Class Fe/Zn 5, unless otherwise indicated.

Retain "Power-Driven Fasteners" Paragraph below if power-driven fasteners are allowed.

J. Power-Driven Fasteners: ICC-ES AC70.

Retain "Seismic Bracing" Paragraph below if required for Project. Below verbiage is an example only. Revise to suit Project. Coordinate with manufacturer's requirements and authorities having jurisdiction. WireCrafters can engineer seismic bracing upon request.
K. Seismic Bracing: Angles with legs not less than 1-1/4 inches (32 mm) wide, formed from 0.040-inch- (1.0-mm-) thick, metallic-coated steel sheet; with bolted connections and 1/4-inch- (6-mm-) diameter bolts.

2.9 FABRICATION

A. General: Fabricate wire mesh items from components of sizes not less than those indicated. Use larger-sized components as recommended by wire mesh item manufacturer. Furnish bolts, hardware, and accessories required for complete installation with manufacturer's standard finishes.

Retain one of four options in "Welding" Subparagraph below; options are listed with best appearance and highest cost first.

1. Welding: Weld corner joints of framing and [grind smooth, leaving no evidence of joint] [finish sand] [remove spatter] [leave as applied].

B. [Standard-] [and] [Heavy-]Duty Wire Mesh Partitions: Fabricate wire mesh partitions with cutouts for pipes, ducts, beams, and other items indicated. Finish edges of cutouts to provide a neat, protective edge.

1. Mesh: [Securely clinch] [Weld] mesh to framing.

2. Framing: Fabricate framing with mortise-and-tenon corner construction.

a. Provide horizontal stiffeners as indicated or, if not indicated, as required by panel height and as recommended by wire mesh partition manufacturer. Weld horizontal stiffeners to vertical framing.

b. Fabricate [three-] [and] [four-]way intersections using [intersection posts] [manufacturer's standard connecting clips and fasteners].

c. Fabricate partition and door framing with slotted holes for connecting adjacent panels.

Retain one of first two subparagraphs below.

3. Fabricate wire mesh partitions with 3-1/4 inches (83 mm) of clear space between finished floor and bottom horizontal framing.

4. Fabricate wire mesh partitions with bottom horizontal framing flush with finished floor.

5. Doors: Align bottom of door with bottom of adjacent panels.

a. For doors that do not extend full height of partition, provide transom over door, fabricated from same mesh and framing as partition panels.

C. Wire Mesh Ceilings: Fabricate wire mesh partitions with cutouts for pipes, ducts, beams, and other items indicated. Finish edges of cutouts to provide a neat, protective edge.

1. Mesh: Weld mesh to framing.

2. Framing: Fabricate framing with welded corner construction.

a. Provide stiffeners as indicated or, if not indicated, as required by panel span and as recommended by wire mesh ceiling manufacturer. Weld stiffeners to framing.

D. Wire Mesh Equipment Physical Barriers: Fabricate wire mesh barriers as indicated.

1. Mesh: Weld mesh to framing.

2. Fabricate wire mesh barriers with 3-1/4 inches (83 mm) of clear space between finished floor and bottom horizontal framing.

3. Gates: Align bottom of gate with bottom of adjacent panels.

a. For gates that do not extend full height of partition, provide transom over gate, fabricated from same mesh and framing as barrier panels.

2.10 STEEL AND IRON FINISHES

Retain "Enamel Finish," "Powder-Coated Finish," or "Galvanized Finish" Paragraph below or insert another. Paint finish options for wire mesh units vary widely. For exact finish, insert names of coating manufacturers and products.

A. Enamel Finish: Immediately after cleaning and pretreating, apply manufacturer's standard enamel finish, suitable for use indicated, with a minimum dry film thickness of [2 mils (0.05 mm)] <Insert dimension>.

"Gray" is the standard color for WireCrafters' enamel finishes; additional colors are available at additional cost.

1. Color: [Gray] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

B. Powder-Coated Finish: Immediately after cleaning and pretreating, apply manufacturer's standard baked-on powder-coat finish, suitable for use indicated, with a minimum dry film thickness of [2 mils (0.05 mm)] <Insert dimension>.

"Gray" is the standard color for WireCrafters' powder coated finishes; additional colors are available at additional cost.

1. Color: [Gray] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

C. Galvanized Finish: Hot-dip galvanize items as indicated to comply with ASTM A153/A153M for steel and iron hardware and with ASTM A123/A123M for other steel and iron products.

Retain first subparagraph below if galvanized items are painted.

1. Do not quench or apply post-galvanizing treatments that might interfere with paint adhesion.

2. After galvanizing, thoroughly clean items of grease, dirt, oil, flux, and other foreign matter, and treat with metallic phosphate process.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine areas, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

B. Examine floors for suitable conditions where wire mesh items will be installed.

C. Examine walls to which wire mesh items will be attached for properly located blocking, grounds, and other solid backing for attachment of support fasteners.

D. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION OF WIRE MESH PARTITIONS

A. Anchor wire mesh partitions to floor with 3/8-inch- (9.5-mm-) diameter, postinstalled expansion anchors through base plates located at each post and corner.

Retain subparagraph below if permitted.

1. Anchors may be set with power-actuated fasteners instead of postinstalled expansion anchors if indicated on Shop Drawings.

B. Anchor wire mesh partitions to walls through back corner panel framing and as follows:

Retain five subparagraphs below if applicable or revise to suit Project.

1. For concrete and solid masonry anchorage, use expansion anchors.

2. For hollow masonry anchorage, use toggle bolts.

3. For wood stud partitions, use lag bolts set into wood backing between studs. Coordinate with carpentry work to locate backing members.

Retain one of two subparagraphs below if steel studs are used. Revise if plaster is used rather than gypsum board.

4. For steel-framed gypsum board assemblies, use lag bolts set into wood backing between studs. Coordinate with stud installation to locate backing members.

5. For steel-framed gypsum board assemblies, fasten brackets directly to steel framing or concealed reinforcements using self-tapping screws of size and type required to support structural loads.

C. Provide line posts at locations indicated or, if not indicated, as follows:

Revise subparagraphs below to suit Project. Verify, with manufacturers, location and spacing for line posts, because their recommendations differ.

1. On each side of door openings.

2. Maximum of 10 ft. (3.05 m) apart, regardless of height.

Retain first paragraph below if seismic bracing is required for Project. Below verbiage is an example only. Coordinate with manufacturer's requirements and authorities having jurisdiction. WireCrafters can engineer seismic bracing upon request.
D. Provide seismic supports and bracing as indicated or, if not indicated, as recommended by manufacturer and as required for stability, extending and fastening members to supporting structure.

Retain first paragraph below if custom-width wire mesh partition panels are not required and dimensions are not indicated on Drawings.

E. Where standard-width wire mesh partition panels do not fill entire length of run, provide adjustable filler panels to fill openings.

F. Install doors complete with door hardware.

G. Install service windows complete with window hardware.

H. Bolt accessories to wire mesh partition framing.

3.3 INSTALLATION OF WIRE MESH CEILINGS

A. Anchor horizontal ceiling support tubes to walls as recommended by manufacturer:

Retain subparagraphs below if applicable or revise to suit Project.

1. For concrete and solid masonry anchorage, use expansion anchors.

2. For hollow masonry anchorage, use toggle bolts.

3. For wood stud partitions, use lag bolts set into wood backing between studs. Coordinate with carpentry work to locate backing members.

Retain one of two subparagraphs below if steel studs are used. Revise if plaster is used rather than gypsum board.

4. For steel-framed gypsum board assemblies, use lag bolts set into wood backing between studs. Coordinate with stud installation to locate backing members.

5. For steel-framed gypsum board assemblies, fasten brackets directly to steel framing or concealed reinforcements using self-tapping screws of size and type required to support structural loads.

B. Attach wire mesh ceiling panels to wall support angles with bolts.

C. Attach wire mesh ceiling panels to wire mesh partitions with slotted angles bolted to sides of ceiling panels and to top of partitions at 12 inches (300 mm) o.c.

D. Attach wire mesh ceiling panels to intermediate supports as recommended by manufacturer.

Retain paragraph below if required.

E. Provide seismic supports and bracing as indicated or, if not indicated, as recommended by manufacturer and as required for stability, extending and fastening members to supporting structure.

3.4 INSTALLATION OF WIRE MESH EQUIPMENT PHYSICAL BARRIERS

A. Anchor wire mesh equipment physical barriers to floor with 3/8-inch- (9.5-mm-) diameter, postinstalled expansion anchors through base plates located at each post and corner.

Retain subparagraph below if permitted.

1. Anchors may be set with power-actuated fasteners instead of postinstalled expansion anchors if indicated on Shop Drawings.

B. Anchor wire mesh equipment physical barriers to walls through back corner panel framing and as follows:

Retain five subparagraphs below if applicable or revise to suit Project.

1. For concrete and solid masonry anchorage, use expansion anchors.

2. For hollow masonry anchorage, use toggle bolts.

3. For wood stud partitions, use lag bolts set into wood backing between studs. Coordinate with carpentry work to locate backing members.

Retain one of two subparagraphs below if steel studs are used. Revise if plaster is used rather than gypsum board.

4. For steel-framed gypsum board assemblies, use lag bolts set into wood backing between studs. Coordinate with stud installation to locate backing members.

5. For steel-framed gypsum board assemblies, fasten brackets directly to steel framing or concealed reinforcements using self-tapping screws of size and type required to support structural loads.

C. Provide line posts at locations indicated or, if not indicated, as follows:

Revise subparagraphs below to suit Project. Verify, with manufacturers, location and spacing for line posts, because their recommendations differ.

1. On each side of gate openings.

2. Maximum of 10 ft. (3.05 m) apart, regardless of height.

Retain first paragraph below if seismic bracing is required for Project. Below verbiage is an example only. Coordinate with manufacturer's requirements and authorities having jurisdiction. WireCrafters can engineer seismic bracing upon request.
D. Provide seismic supports and bracing as indicated or, if not indicated, as recommended by manufacturer and as required for stability, extending and fastening members to supporting structure.

Retain first paragraph below if custom-width wire mesh equipment physical barrier panels are not required and dimensions are not indicated on Drawings.

E. Where standard-width wire mesh equipment physical barrier panels do not fill entire length of run, provide adjustable filler panels to fill openings.

F. Install gates complete with gate hardware.

3.5 REPAIR

Retain "Touchup Painting" Paragraph below if touchup painting is required as part of this Section. Delete paragraph if no painted wire mesh items. WireCrafters furnishes touchup paint and brushes as standard practice.

A. Touchup Painting: Immediately after erection, clean field welds, bolted connections, and abraded areas. Paint uncoated and abraded areas with the same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.
B. Galvanized Surfaces: Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A780/A780M.

3.6 ADJUSTING

A. Adjust [doors] [gates] [service windows] to operate smoothly and easily, without binding or warping. Adjust hardware to function smoothly. Verify that latches and locks engage accurately and securely without forcing or binding.

3.7 PROTECTION

A. Remove and replace defective work, including [doors] [gates] [service windows] and framing that are warped, bowed, or otherwise unacceptable.

END OF SECTION 102213

	WIRE MESH PARTITIONS
	102213 - 1



